## Sheet1
SCREEN_MAIN
0 | P | r | e | s | e | t | # | # |  | A | c | t | u | a | l |  | ON/OFF
1 | x | x | . | x | x | V | # | # | > | x | x | . | x | x | V |  | CC/CV
2 | x | x | x | x | m | A | # | # | > | x | x | x | x | m | A |  | x | x | deg | C
3 | x | x | . | x | x | W | # | # | > | M | E | N | U |  |  |  | Ton/Toff
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19
SCREEN_MENU
0 | > | M | a | i | n |  | S | c | r | e | e | n |  |  |  |  | > | F | a | n
1 | > | E | n | e | r | g | y |  | I | n | f | o |  |  |  |  | > | C | a | l
2 | > | T | i | m | e | r | : |  | x | x | : | x | x | : | x | x | > | R | s | t
3 | > | D | a | t | a |  | L | o | g | g | i | n | g
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19
SCREEN_ENERGY
0 | x | x | x | x | x | x | x | x | m | W | h |  | x | x | : | x | x | : | x | x
1 | x | x | x | x | x | x | x | x | m | A | h
2 | > | R | e | s | e | t |  | R | e | c | o | r | d
3 | SCREEN_ENERGY x x: >; SCREEN_ENERGY x x: B; SCREEN_ENERGY x x: a; SCREEN_ENERGY x x: c; SCREEN_ENERGY x x: k
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19
SCREEN_LOG
0 | D | A | T | A |  | L | O | G | G | I | N | G |  | ( | U | A | R | T | )
1 | SCREEN_ENERGY x x: >; SCREEN_ENERGY x x: Enabled/Disabled | [10 empty] | #define MAX_V_DAC 5000
2 | > | I | n | t | e | r | v | a | l | : | x | x | x | x | x | m | s |  |  |  |  | #define MAX_I_ADC 5000
3 | > | Enabled/Disabled I: B; Enabled/Disabled n: a; Enabled/Disabled t: c; Enabled/Disabled e: k | [12 empty] | #define MIN_V_ADC 0
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 |  | #define MIN_I_ADC 0
#define MAX_TIMER_DURATION 36000000
| SCREEN_FAN | [20 empty] | #define MIN_TIMER_DURATION 0
#define MAX_LOG_INTERVAL 60000
0 | > | M | i | n | P | 1 | : | x | x | % | > | M | a | x | T | : | x | x | deg | C |  | #define MIN_LOG_INTERVAL 200
1 | > | M | i | n | P | 2 | : | x | x | % | > | M | i | n | T | : | x | x | deg | C | Interval is 200ms MIN and 60000ms MAX | #define MIN_FAN_PWM 0
2 | > | M | a | x | P | 1 | : | x | x | x | % |  | > | B | a | c | k |  |  |  |  | #define MAX_FAN_PWM 100
3 | > | M | a | x | P | 2 | : | x | x | x | % | [10 empty] | #define MIN_FAN_TEMP 0
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 |  | #define MAX_FAN_TEMP 99
#define MAX_CALIBRATION_FACTOR 10.0000
| SCREEN_CAL | [20 empty] | #define MIN_CALIBRATION_FACTOR 0.0001
0 | x | x | . | x | x | V |  |  | > | x | x | . | x | x | V | > | B | a | c | k
1 | x | x | x | x | m | A |  |  | > | x | x | x | x | m | A
2 | > | x | . | x | x | x | x |  | > | x | . | x | x | x | x
3 | > | x | . | x | x | x | x |  | > | x | . | x | x | x | x
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19
PA11 | bar: Enabled/Disabled n
PA12 | bar: Enabled/Disabled n
| PA10 | Enabled/Disabled n: Ambient TX
| PA9 | Enabled/Disabled n: DL Fan/RX coded A
| PA8 | Enabled/Disabled n: CH2 Fan coded C
| PB6 | Enabled/Disabled n: CH1 Fan coded B
| PB5 | Enabled/Disabled n: Buzzer
| PB0 | Enabled/Disabled n: DL Temp sensor coded TL
| PA7 | Enabled/Disabled n: CH2 Temp sensor coded T2
| PA6 | Enabled/Disabled n: CH1 Temp sensor coded T1
| PB11 | Enabled/Disabled n: CC CH1
| PB10 | Enabled/Disabled n: CV CH1
| PA13 | Enabled/Disabled n: CC CH2; Enabled/Disabled l: encoder = new ClickEncoder(PB11, PB10, PB1, 4);
| PA14 | Enabled/Disabled n: CV CH2; Enabled/Disabled l: const int rs = PB12, en = PB13, d4 = PB14, d5 = PB15, d6 = PC14 d7 = PC15; //mention the pin names to with LCD is connected to